## fastGEN_template
DNA pool quantification and dilution |  |  | Verification of diluted DNA pool concentration
Enter values only in the yellow fields! |  |  | Enter values only in the yellow fields!
fastGEN kit |  |  | fastGEN kit
Lot |  |  | Lot
PCR Operator |  |  | PCR Operator
Date |  |  | Date
Concentration determination method |  | QUBIT HS 1 µl | Concentration determination method |  | QUBIT HS 10 µl
Sequencing Operator |  |  | Sequencing Operator
Number of measurement | Concentration | ng/µl | Number of measurement | Concentration | ng/µl
1 | 50 |  | 1 | 0.45
2 |  |  | 2
3 |  |  | 3
Qubit HS concentration mean | 50 | ng/µl | Qubit HS concentration mean | 0.45 | ng/µl
Average DNA molecule length | 330 | bp | Average DNA molecule length | 330 | bp
DNA pool concentration | 229.5684 | nM | DNA pool concentration | 2.0661 | nM
Target concentration | 2 | nM | Expected concentration | 2 | nM
Dilution | 115 | X | Range
Mix | 5+570 | (DNA pool + H20) | min | max
or |  |  | 1.6 | 2.4 | nM
Mix | 2,5+285 | (DNA pool + H20)
Example of NaOH dilution |  | or
NaOH 5M | 20 µl | 10 µl
H20 | 480 µl | 240 µl
DNA pool denaturation |  | or
Freshly prepared DNA pool ~ 2nM | 20 µl | 10 µl
NaOH 0,2 M | 20 µl | 10 µl
Denaturation 5 min
Dilution of denatured DNA pool in HT1
Denatured DNA pool | 10 | µl
Cooled HT1 | 990 | µl
Total | 1000 | µl
Concentration of diluted DNA pool | 2.0661 | nM
Expected concentration of diluted DNA pool | 10 | pM
Final library preparation | 10.3306 | pM